PRODUCT DESCRIPTION

Breckenridge Natural Spanish Alabaster Pendant

A sleek cylindrical pendant crafted from natural alabaster, showcasing soft veining and a warm, diffused glow. Its minimalist form and gentle illumination add refined elegance to kitchens, hallways, and modern hospitality spaces.

Breckenridge-D-3

FEATURES

• 5-year limited warranty.

• Ships assembled.

• 360 Degree.

• Alabaster cylinder, diameter 3.15", height 13.8"

• Fixture lumens per watt ratio 80 LPW.

• Natural Alabaster, Metal finishes: Aged Brass, Black Jack, Platinum Silver, Gloss White.

• More 50 lbs must be installed using a U.L. listed outlet box or supported independently

of the outlet box.

SPECIFICATIONS

• 90+ CRI.

• Input: 120-277V, 50/60Hz.

• 0-10V dimming standard, ELV / TRIAC, Dali, DMX, ZigBee available.

• UL listed, suitable for dry location. (BAA) Buy American compliant.

• Built in color temperature selectable. Choose from 3000K/3500K/4000K

Or 2700K/3500K/4000K.

Breckenridge Collection

Ceiling lights           Drop Pendant

Linear Pendant           Wall Sconce

Flush Mount

PARTS PACKED WITH STANDARD FIXTURE

• Plastic Anchors, Screws, Wire Connectors

• CCT Selector Switch

Modifications: Consult the factory for all modification requests including

• Different layouts, configurations.

• Different sizes, different quantity options for the lights

• Different metal finishes.

• Different mounting options.

• Different LED bulb base types

• Color temperatures. lumen outputs, RGBW, Tunable White available.

MODEL INFORMATION:                                             Example: SB-XP-312A60WSA

| Products Series | Wattage/Size | “E” Kelvin temp options | “W” Controls (don’t select this column if selected S or A) | “Z” Metal Finishes | “X” Aircraft Cable |
| --- | --- | --- | --- | --- | --- |
| *SB-XP-312A | *60W=12 Light | *S=3000K/3500K/4000K Color Select by internal CCT Color Selector, 4000K factory color default set, CRI 90 | *Blank=1-10V dimming (default) | *A=Aged Brass | *Blank=10’ foot 120” (default) |
|  |  |  | C= Dali |  | 5’=5 foot 60” |
|  |  | A=2700K/3500K/4000K Color Select by internal CCT color Selector, 4000K factory color default set. CRI 90 | D=DMX (for RGBW and Tunable White, control by Wall Switch or DMX control system) | B=Black Jack | 15’=15 foot 180” |
|  |  |  |  |  | 20’=20 foot 240” |
|  |  | T=3K-4K Tunable White control by remote/wall control | Z=ZigBee (for RGBW and CCT Tunable / dimmable using remote, App and Google Alexa voice. | S=Platinum Silver | 25’=25 foot 300” |
|  |  | R3= RGB+3000K | L=ELV / Triac dimming | W=Gloss White | 30’=30 foot 360” |
|  |  | R4=RGB+4000K |  |  |  |
| Please request specialty pricing for alternative Kelvin temperatures, additional sizes, customizable configurations, specialty color finishes, variations in aircraft cable length, and available controls. |  |  | See control options | Find page 3 for custom color options or select from website Color Collections |  |

EMERGENCY BATTERY OPTIONS

STANDARD COLOR FINISHES

PMB-2750

Dark Grey

Sparkle

PMB-6769

Deep Blue

Sparkle

PPB-4499

Gold

Sparkle

PMB-4417

Baby Blue

Sparkle

PPB-5004

Ultra Blue

Sparkle

PPB-4727

Silver

Sparkle

PPB-5835

Rockstar

Sparkle

PMB-4130

Pearl

Sparkle

PPB-4694

Super Red

Sparkle

PPB-5078

Magnum Blue

Sparkle

SPARKLE FINISH

PWB-2590

Wetstone

Emerald II

PWB-9157

Wetstone

Gold Bronze

PWB-9156

Wetstone

Copper

PWB-2343

Wetstone

Rock Bronze

PWB-2232

Wetstone

Black

WETSTONE WRINKLED TEXTURE FINISH

PPB-5633

Tinted Clear

PPB-2262

Anodized Gold

PPB-8034

Melted Bronze

PPB-6325

Metallic Clear

PPS-6530

Brassy Gold

PPB-5936

Anodized Red

UMB-10815

Brass Chrome

PPB-6677

Black Chrome III

PMB-4124

Bronze Chrome

UMB-10813

Rose Chrome

UMS-10671

Super Chrome

Plus

UMB-10816

Copper Chrome

CHROME/SPECIALTY FINISH

PVB-10269

Dark

Palleon Panther

PVB-10273

Palleon Panther

PVB-10267

Dark Palleon

Golden Green

PVB-10272

Palleon Fire

PVB-10271

Palleon

Golden Green

PVB-10268

Dark

Palleon Paradise

PVB-10274

Palleon Paradise

PVB-10268

Dark

Palleon Fire

PALLEON METALLIC TEXTURED FINISH

SHIMMER/ GLITTER FINISH

PPB-8167

Trans Glitter

Gold

UMB-2062

Shimmer Gold

PMS-5677

Shimmer Copper

PMB-6611

Shimmer Black

PMB-5567

Champagne

Shimmer

PMB-6762

Alloy Glitter

SOLID TONE FINISH

EMS-0940

Spanish Gold

USS-2603

Gloss Black

UMB-0336

Metallic Bronze

UMB-0493

US Bronze

PPS-0106

Ink Black

PMB-0808

Performance

Gold

PMB-6525

BMW Silver

PMB-0593

Soft White

PSB-8051

Dirty White

PMB-0513

Silver Metallic II

PMB-4364

Pearl White

HSS-1336

Silk Satin Black

PSS-4647

Beach Tan

PSS-1670

Rosette Pink

PSS-4008

Jewel Grey

PSS-4500

Crest Grey

PPB-2846

Purple Glaze

PMB-5478

Montana Gold

PSB-5945

Bright Green

PSS-2876

Orange Glow

PSS-1791

JuJu Orange

PSS-0118

Spring Yellow

PSS-4971

Very Red

PMB-10657

Yama Blue

Discover beyond our standard hues with over 6,500 finishes and colors available for your luminaire, including precise color matching, NFL team colors, and custom RAL finishes. Elevate your design with metallic, sparkle, or transparent textures for a touch of individuality. Explore our most popular selections below and contact our factory for personalized quotes.

You can request color swatches by emailing us at customerservice@snowball-inc.com

Please note: Colors may appear differently due to screen display settings.

LUMEN OUTPUT

| Model Number | Size | Wattage | Kevin | Lumen |
| --- | --- | --- | --- | --- |
| SB-XP-312A60W | 12 Light | 60W | 2700K/3000K/3500K 4000K/5000K | 4800 |

EMERGENCY BATTRY OPTIONS                             SEE SPEC

| PICTURE | MODEL NUMBER | DESCRIPTION |
| --- | --- | --- |
|  | SB-EBP/5W/B | Factory installed Remote Emergency Battery Pack 5W 90 minutes |
|  | SB-EBP/10.7W/B | Factory installed Remote Emergency Battery Pack 10.7W 90 minutes |
|  | SB-EBP/17W/B | Factory installed Remote Emergency Battery Pack 17W 90 minutes |

RGBW/TUNABLE WHITE SMART CONTROL                 SEE SPEC AND VIDEO

Get Smart

Using Amazon Echo, Echo Dot, or any Alexa-enabled device allows you to turn your luminaire on and off, dim the light and change light color to Red, Green, Blue or White independently by using voice command or Smart phone app, DMX, Handheld remote or wall control.

DIMENSIONS & WEIGHTS: Canopy Size for ZigBee & DMX: 15.75” x 2.76”

SB-XP-312A

110.0 lbs